## Sheet1
Name: ________________________________ | [6 empty] | Phone #: ____________________
Address: ____________________________________________________________________
APPLIANCE | AC | DC | QTY | X | Appliance Wattage | X | Hours of use/day | X | Days used per week | /7 | = | Average Watt- hours per day
Refrigerator/ Freezer | X |  | 1 | X | 300 | X | 10 | X | 7 | /7 | = | 3000
Chest Freezer (18 cf) | X |  | 1 | X | 250 | X | 8 | X | 7 | /7 | = | 2000
Water Pump (300 gpd) | X |  | 1 | X | 1200 | X | 0.75 | X | 7 | /7 | = | 900
Microwave Oven | X |  | 1 | X | 1200 | X | 0.5 | X | 7 | /7 | = | 600
Coffee Maker (drip) | X |  | 1 | X | 1200 | X | 1 | X | 7 | /7 | = | 1200
Toaster | X |  | 1 | X | 1200 | X | 0.1 | X | 7 | /7 | = | 120
High Eff. Gas Furnace | X |  | 1 | X | 350 | X | 8 | X | 7 | /7 | = | 2800
Furnace (Oil/ Forced Air) | X |  | 1 | X | 1400 | X | 8 | X | 7 | /7 | = | 11200
Air Conditioner (room) | X |  | 1 | X | 1000 | X | 8 | X | 7 | /7 | = | 8000
Washing Machine | X |  | 1 | X | 400 | X | 0.75 | X | 4 | /7 | = | 171
Electric Dryer | X |  | 1 | X | 4000 | X | 1 | X | 4 | /7 | = | 2286
Gas Dryer | X |  | 1 | X | 300 | X | 1 | X | 4 | /7 | = | 171
Water Heater (40 gal) | X |  | 1 | X | 4000 | X | 2.5 | X | 7 | /7 | = | 10000
TV (25") | X |  | 1 | X | 150 | X | 6 | X | 7 | /7 | = | 900
VCR | X |  | 1 | X | 40 | X | 2 | X | 7 | /7 | = | 80
Computer | X |  | 1 | X | 120 | X | 3 | X | 7 | /7 | = | 360
Lighting (efficient) | X |  | 10 | X | 20 | X | 6 | X | 7 | /7 | = | 1200
Lighting (inefficient) | X |  | 10 | X | 60 | X | 6 | X | 7 | /7 | = | 3600
|  |  |  | X |  | X |  | X |  | /7 | =
|  |  |  | X |  | X |  | X |  | /7 | =
Power Conv. Cubes | X |  | 1 | X | 7 | X | 24 | X | 7 | /7 | = | 168
|  |  |  | X |  | X |  | X |  | /7 | =
|  |  |  | X |  | X |  | X |  | /7 | =
|  |  |  | X |  | X |  | X |  | /7 | =
|  |  |  | X |  | X |  | X |  | /7 | =
|  |  |  | X |  | X |  | X |  | /7 | =
|  |  |  | X |  | X |  | X |  | /7 | =
|  |  |  | X |  | X |  | X |  | /7 | =
|  |  |  | X |  | X |  | X |  | /7 | =
Total watt-hours per day: |  |  | X | Load correction factor* |  |  |  | = | Corrected watt-hours per day
13,502 (44,417) |  |  | X | 1.2 |  |  |  | = | 16,202 (55,521)
Largest AC load in watts: |  | 4,000 (Dryer) 1200 (Toaster/MW/Pump)
Total connected AC load usage at any one time (in watts):
* The load correction factor is required as batteries are not 100% efficient, and other losses occur in a system.
We increase the load value by 20% to compensate for these losses.
For assistance with this form:
Call Roy or Denis at: 607-324-9747 M-F 9am-4:30pm EST
Return Address: Four Winds Renewable Energy
8902 Cty Route 46 Arkport, NY 14807

## Sheet2
* The load correction factor is required as batteries are not 100% efficient, and other losses occur in a system.
We increase the load value by 20% to compensate for these losses.
For assistance with this form:
Call Roy or Denis at: 607-324-9747 M-F 9am-5pm EST
E-mail: Roy@four-winds-energy.com
This form is provided by Four Winds Renewable Energy Company
abcdefghijklmnopqrstuvwxyz
abcdefghijklmnopqrstuvwxyz